## Overview
SLAMUSA Assets
Generated on | March 24, 2026
Generated for | SLAM USA
Generated by | Bill Roth
Status | Active

## Data
Flags | Asset ID | Facility No | Asset Name | Description | Address | City | Province / State | Postal / ZIP | Full Condition Assessment Date | Assessment Year | Year Constructed | Effective Age | Element Count | Recommendation Count | Replacement Value | Overall Narrative | Architectural Narrative | Mechanical Narrative | Electrical Narrative | Site Narrative | Area (sq ft) | Converted Area (sq m) | GFA Footprint | Floors | Basement Levels | Regional Factor | Ownership Type | Historical | Use | Comments | 3 Year Rec Costs | 3 Year FCI | 5 Year Rec Costs | 5 Year FCI | Building Quality - Daylighting | Energy Intensity | Capacity | Asset Type | Zone
| 1 | 04.758 | Humanities Fine Arts |  | 304 Cougar Circle | Morris | Minnesota | 56267 | 2019-10-15 | 2019 | 1971 | 54 | 145 | 131 | 27390750 |  | General: Humanities Fine Arts was constructed in 1971 and is located at ,304 Cougar Circle, Morris, MN. Based on the provided information, the total gross floor area is estimated to be approximately 109563 square feet (10179 square metres). The building was assessed on Oct 15, 2019. The building is mainly used for educational purposes. Structural Summary: A Building is a five -story structure with a basement. Where exposed, the building foundation walls appear to be poured concrete walls that likely bear on concrete spread footings on either engineered fill or native soil. The floor construction is of reinforced concrete supported by concrete beams and columns. Envelope Summary: The exterior walls are stone cladding and curtain walls . The exterior windows are metal-framed insulated glass units. Various types and shapes of exterior doors provide access to building. The flat roof structure has a conventional roof assembly system, where the roof membrane is a multi-ply built-up roof membrane protected by a white flood coat and white aggregate surfacing system. Interior Summary: The floor finishes of the building interior consists of vinyl floor tiles, sheet vinyl, Urethane floor, painted concrete floors and Porcelain tiles. Interior partitions are painted gypsum board and painted concrete masonry. The ceiling finishes include bamboo panel ceiling, epoxy painted ceiling, metal panel ceiling, and painted ceiling finish. Individual washrooms are provided in the building. | Plumbing for the building consists of domestic water, sanitary waste and rainwater drainage piping. Domestic hot water is provided from domestic hot water tank heaters. Ventilation with heating and cooling for the building is provided from air handling units. Heating medium is provided from hot water boilers. Heating in public spaces is provided by hot water baseboard, fin tube, wall convectors and force flow heaters. Cooling medium is provided from chillers and cooling towers. Cooling for some spaces is provided from rooftop evaporative coolers and DX units. Rooftop exhaust fans are provided for general building and washroom exhaust. A DDC system is utilized for control of the HVAC system. Conveying equipment for the building consists of three passenger elevators. | Electrical power is provided from the CUP to a 3000A, 600V, 3-Phase, 4-Wire, SQUARE D, Main Breaker Distribution Switchboard that includes incoming feeder, distribution breakers, distribution feeders and metering; as well as distribution switchboards, panelboards and motor control centres. Interior lighting for the building consists of surface mounted and recessed light fixtures with T5 lamps and electronic ballasts as well as pendant type fixtures with compact fluorescent lamps, conduit and wire. Exterior lighting consists of LED surface mounted and recessed units. | Fire suppression for the building is provided by a wet sprinkler and standpipe system as well as handheld fire extinguishers. A fire alarm system with pull stations, heat and smoke detectors, as well as audible and visible alarms which are monitored by a central fire alarm control panel is provided in the building. Exit signs to indicate the direction to the means of egress is provided in the building. | 109563 | 10179 |  | 5 |  | 1.25 | owned | N |  |  | 1194526.16 | 4.4% | 1350919.46 | 4.9% |  |  |  | Academic | Central
| 2 | 03.523 | Kirby Student Ctr |  | 1120 Kirby Drive | Duluth | Illinois | 55812 | 2019-11-07 | 2019 | 1954 | 71 | 61 | 59 | 32234400 |  | General: Kirby Student Ctr was constructed in 1954 and is located at 1120 Kirby Drive, Duluth, IL. Based on the provided information, the total gross floor area is estimated to be approximately 117216 square feet (10890 square meters). The building was assessed Nov 7, 2019. The building mainly consists of offices and labs . Structural Summary: K Building is a three-story structure without a basement. Where exposed, the building foundation walls appear to be poured concrete walls that likely bear on concrete spread footings on either engineered fill or native soil. The floor construction is a concrete infilled metal pan deck on open web steel joists. Envelope Summary: The exterior walls is split face concrete masonry, insulated metal panels and precast panels. The exterior windows are aluminum-framed insulated glass units. Various types and shapes of exterior doors provide access to building. The building's roof is an inverted roof assembly where the roof membrane is a single-ply built-up roof membrane. Interior Summary: The floor finishes of the building interior consists of carpet tile, painted floor finish and Vinyl tiles. Interior partitions are painted gypsum board and painted concrete masonry. The ceiling finishes include Gypsum board ceiling finish, and acoustic ceiling tiles. | Plumbing for the building consists of domestic water, sanitary waste and rainwater drainage piping. Domestic hot water is provided from a domestic hot water tank heater. Ventilation with heating and cooling for the building is provided from an air handling unit. Heating medium is provided from the CUB. Heating in public spaces and mechanical rooms is provided by electric baseboard and hot water unit heaters. Cooling medium is provided from the CUB. Some rooms are provided with DX units. Rooftop exhaust fans are provided for general building and washroom exhaust. A hybrid DDC/pneumatic system is utilized for control of the HVAC system. | Electrical distribution consists of distribution switchboards, transformers and panelboards. Interior lighting for the building consists of surface and recessed mounted light fixtures with T8 lamps and electronic ballasts, conduit and wire. Exterior lighting consists of recessed mounted units with CF lamps. | Fire suppression for the building is provided by a standpipe system as well as handheld fire extinguishers. A fire alarm system with pull stations, heat and smoke detectors, as well as audible and visible alarms which are monitored by a central fire alarm control panel is provided in the building. Exit signs to indicate the direction to the means of egress is provided in the building. | 117216 | 10890 |  | 3 |  | 1.05 | owned | N |  |  | 607239.94 | 1.9% | 666629.82 | 2.1% |  |  |  | Operations | North
Potential Demolition | 3 | 05.855 | Lysaker Gym |  | 2900 University Avenue | Crookston | New York | 56716 | 2019-11-08 | 2019 | 1976 | 49 | 82 | 78 | 10164600 |  | General: Lysaker Gym was constructed in 1976 and is located at 2900 University Avenue, Crookston, NY. Based on the provided information, the total gross floor area is estimated to be approximately 45176 square feet (4197 square meters). The building was assessed Nov 8, 2019. The building mainly consists of offices and labs . Structural Summary: H Building is a two -story structure with a basement. Where exposed, the building foundation walls appear to be poured concrete walls that likely bear on concrete spread footings on either engineered fill or native soil. The floor construction is a concrete infilled metal pan deck on open web steel joists. Envelope Summary: The exterior walls is split face concrete masonry and precast panels . The exterior windows are aluminum-framed insulated glass units. Various types and shapes of exterior doors provide access to building. The building's roof is an inverted roof assembly where the roof membrane is a single-ply built-up roof membrane. Interior Summary: The floor finishes of the building interior consists of sealed concrete, terrazzo floor finish and Vinyl tiles. Interior partitions are painted gypsum board and painted concrete masonry. The ceiling finishes include Gypsum board ceiling finish, eggcrate tiles and acoustic ceiling tiles. | Plumbing for the building consists of domestic water, sanitary waste and rainwater drainage piping. Domestic hot water is provided from domestic hot water tank heaters. Ventilation for the building is provided from air handling units with heating and cooling coils which also serves Block D. Space heating is provided is provided by electric baseboard heaters with unit heaters in the loading dock and main electrical vault areas. Exhaust fans are provided for general building and washroom exhaust. A hybrid DDC/pneumatic system is utilized for control of the HVAC system. | Electrical power is provided from the CUP to a 2500 KVA, 13.8KV &ndash; 600V main transformer. Electrical distribution consists of a 3000A, 600V, 3-Phase, 4-Wire, Main Breaker Distribution Switchboard that includes incoming feeder, distribution breakers, distribution feeders and metering; as well as distribution switchboards, panelboards and a motor control centre. Interior lighting for the building consists of surface and recessed mounted light fixtures with T8 lamps and electronic ballasts, conduit and wire. Exterior lighting consists of recessed mounted units. | Fire suppression for the building is provided by a standpipe system as well as handheld fire extinguishers. A fire alarm system with pull stations, heat and smoke detectors, as well as audible and visible alarms which are monitored by a central fire alarm control panel is provided in the building. Exit signs to indicate the direction to the means of egress is provided in the building. | 45176 | 4197 |  | 2 |  | 1.15 | owned | N |  |  | 1573138.98 | 15.5% | 1643747.59 | 16.2% |  |  |  | Athletics | East
| 4 | 01.074 | Mayo Building |  | 420 Delaware Street SE | Minneapolis | Minnesota |  | 2019-10-16 | 2019 | 2007 | 18 | 93 | 89 | 258000000 |  | General: Mayo Building was constructed in 2007 and is located at 420 Delawre Street SE, Minneapolis NJ. Based on the provided information, the total gross floor area is estimated to be approximately 862856 square feet (80162 square metres). The building was assessed Oct 16, 2019. The building is mainly used for educational purposes. Structural Summary: J Building is a five -story structure with a basement. Where exposed, the building foundation walls appear to be poured concrete walls that likely bear on concrete spread footings on either engineered fill or native soil. The floor construction is precast slab supported by steel beams and columns. Envelope Summary: The exterior walls are stone cladding, copper cladding and curtain walls . The exterior windows are metal-framed insulated glass units. Various types and shapes of exterior doors provide access to building. The flat roof structure has an inverted roof membrane assembly (IRMA) consisting of ballast, filter fabric, extruded polystyrene insulation board, drainage mat and a fully adhered single-ply membrane. Interior Summary: The floor finishes of the building interior consists of carpet tile, sheet vinyl, Urethane floor, polished concrete floors and ceramic tiles. Interior partitions are painted gypsum board and painted concrete masonry. The ceiling finishes include Painted ceiling finish and ACT ceiling finish. Individual washrooms are provided in the building. | Plumbing for the building consists of domestic water, sanitary waste and rainwater drainage piping. Domestic hot water is provided from domestic hot water tank heaters. Ventilation with heating and cooling for the building is provided from air handling units. Heating medium is provided from hot water boilers. Heating in public spaces is provided by baseboard, fin tube and unit heaters. Cooling medium is provided from a chiller. Cooling for some spaces is provided from DX units. Rooftop exhaust fans are provided for general building and washroom exhaust. A DDC system is utilized for control of the HVAC system. Conveying equipment for the building consists of two passenger elevators. | Electrical power is provided from the CUP to a 1200A, 600V, 3-Phase, 4-Wire, CUTLER-HAMMER, Main Breaker Distribution Switchboard that includes incoming feeder, distribution breakers, distribution feeders and metering; as well as distribution switchboards and panelboards. Interior lighting for the building consists of surface mounted and recessed light fixtures with T5 lamps and electronic ballasts as well as pendant type fixtures with compact fluorescent lamps, conduit and wire. Exterior lighting consists of HID surface mounted units. | Fire suppression for the building is provided by a wet sprinkler and standpipe system as well as handheld fire extinguishers. A fire alarm system with pull stations, heat and smoke detectors, as well as audible and visible alarms which are monitored by a central fire alarm control panel is provided in the building. Exit signs to indicate the direction to the means of egress is provided in the building. | 862856 | 80162 |  | 5 |  | 1 | owned | Y |  |  | 2220257.82 | 0.9% | 2267927.94 | 0.9% |  |  | 500 | Academic | East
| 5 | 01.053 | Northrop Auditorium |  | 84 Church Street SE | Saint Paul | Houston | 55454 | 2019-11-05 | 2019 | 1928 | 97 | 98 | 90 | 81426150 |  | General: Northrop Auditorium was constructed in 1928 and is located at 84 Church Street SE, Saint Paul HX. Based on the provided information, the total gross floor area is estimated to be approximately 250542 square feet (63702 square metres). The building was assessed Nov 5, 2019. The building mainly consists of offices and labs . Structural Summary: E Building is a three -story structure with a basement. Where exposed, the building foundation walls appear to be poured concrete walls that likely bear on concrete spread footings on either engineered fill or native soil. The floor construction is a concrete infilled metal pan deck on open web steel joists. Envelope Summary: The exterior walls is split face concrete masonry and precast panels . The exterior windows are aluminum-framed insulated glass units. Various types and shapes of exterior doors provide access to building. The building's roof is an inverted roof assembly where the roof membrane is a single-ply built-up roof membrane. Interior Summary: The floor finishes of the building interior consists of carpet tiles, painted floor finish and Vinyl tiles. Interior partitions are painted gypsum board and painted concrete masonry. The ceiling finishes include Gypsum board ceiling finish, eggcrate tiles and acoustic ceiling tiles. | Plumbing for the building consists of domestic water, sanitary waste and rainwater drainage piping. Ventilation for the building is provided from an air handling unit located in Block G. Space heating is provided is provided by electric baseboard heaters with a unit heater in the rock storage area. Exhaust fans are provided for general building and washroom exhaust. A newer DDC system and an older hybrid DDC/pneumatic system is utilized for control of the HVAC system. Conveying equipment for the building consists of a three storey passenger elevator. | Electrical power is provided from the CUB to 600V &ndash; 120/208V step-down transformers and includes incoming feeders; as well as panelboards and motor control centres. Interior lighting for the building consists of surface mounted light fixtures with T8 lamps and electronic ballasts, conduit and wire. Exterior lighting consists of HID surface mounted units. | Fire suppression for the building is provided by a wet sprinkler and standpipe system as well as handheld fire extinguishers. A fire alarm system with pull stations, heat and smoke detectors, as well as audible and visible alarms which are monitored by a central fire alarm control panel is provided in the building. Exit signs to indicate the direction to the means of egress is provided in the building. | 250542 | 23276 |  | 3 |  | 1 | owned | N |  |  | 4305933.4 | 5.3% | 4515199.4 | 5.5% |  |  |  | Operations | South
| 6 | 31.896 | Nova Far Detector Building |  | 10709 Bright Star Road | Orr | Washington Dc | 55771 | 2019-11-04 | 2019 | 2011 | 14 | 65 | 62 | 14621200 |  | General: Nova Far Detector Building was constructed in 2011 and is located at 10709 Bright Star Road, Orr, D.C. Based on the provided information, the total gross floor area is estimated to be approximately 53168 square feet (4940 square metres). The building was assessed on Nov 4, 2019. The building is mainly used for educational purposes. Structural Summary: B Building is a two -story structure with a basement. Where exposed, the building foundation walls appear to be poured concrete walls that likely bear on concrete spread footings on either engineered fill or native soil. The floor construction is a concrete infilled metal pan deck on open web steel joists. Envelope Summary: The exterior walls is split face concrete masonry . The exterior windows are aluminum-framed insulated glass units. Various types and shapes of exterior doors provide access to building. The building's roof is an inverted roof assembly where the roof membrane is a single-ply built-up roof membrane. Interior Summary: The floor finishes of the building interior consists of carpet tiles, ceramic tiles, epoxy floor and Vinyl tiles. Interior partitions are painted gypsum board and painted concrete masonry. The ceiling finishes include gypsum board ceiling finish and acoustic ceiling tiles. | Plumbing for the building consists of domestic water, sanitary waste and rainwater drainage piping. Domestic hot water is provided from domestic hot water tank heaters. Ventilation with heating and cooling for the building is provided from air handling units. Heating medium is provided from the CUB. Heating in public spaces is provided by hot water baseboard, fin tube, heaters and fan coils in the vestibules. Cooling medium is provided from a chiller. Cooling for some spaces is provided from DX units. Exhaust fans are provided for general building and washroom exhaust. A DDC system is utilized for control of the HVAC system. Conveying equipment for the building consists of a three storey handicap lift. | Electrical power is provided from the CUP to a 300KVA, 600V &ndash; 120/208V, 3-Phase, transformer that includes incoming feeder. Electrical power distribution consists of panelboards distributed around the building. Interior lighting for the building consists of surface mounted light fixtures with T8 lamps and electronic ballasts, conduit and wire. Exterior lighting consists of LED surface mounted units. | Fire suppression for the building is provided by a standpipe system and handheld fire extinguishers. A fire alarm system with pull stations, heat and smoke detectors, as well as audible and visible alarms which are monitored by a central fire alarm control panel is provided in the building. Exit signs to indicate the direction to the means of egress is provided in the building. | 53168 | 4939 |  | 2 |  | 1.18 | owned | N |  |  | 5690594.36 | 38.9% | 5690594.36 | 38.9% |  |  |  | Academic | East
Potential Demolition | 7 | 04.750 | Science |  | 102 Neigbourbood Circle | Mankato | Georgia | 56267 | 2019-11-07 | 2019 | 1965 | 60 | 69 | 63 | 40883150 |  | General: Science Builiding was constructed in 1965 and is located at 102 Neighbourhood Circle, Mankato, GO. Based on the provided information, the total gross floor area is estimated to be approximately 148666 square feet (13812 square metres). The building was assessed Nov 7, 2019. The building mainly consists of offices and labs . Structural Summary: F Building is a two -story structure with a basement. Where exposed, the building foundation walls appear to be poured concrete walls that likely bear on concrete spread footings on either engineered fill or native soil. The floor construction is a concrete infilled metal pan deck on open web steel joists. Envelope Summary: The exterior walls is split face concrete masonry and precast panels . The exterior windows are aluminum-framed insulated glass units. Various types and shapes of exterior doors provide access to building. The building's roof is an inverted roof assembly where the roof membrane is a single-ply built-up roof membrane. Interior Summary: The floor finishes of the building interior consists of carpet tiles, epoxy finish, terrazzo floor finish and Vinyl tiles. Interior partitions are painted gypsum board and painted concrete masonry. The ceiling finishes include Gypsum board ceiling finish, eggcrate tiles and acoustic ceiling tiles. | Plumbing for the building consists of domestic water, sanitary waste and rainwater drainage piping. Ventilation for the building is provided from air handling units which also serve Block B. Space heating is provided is provided by electric baseboard heaters. Exhaust fans are provided for general building and washroom exhaust. A hybrid DDC/pneumatic system is utilized for control of the HVAC system. | Electrical power is provided from the CUB to 600V &ndash; 120/208V step-down transformers and includes incoming feeders; as well as distribution switchboards, panelboards and motor control centres. Interior lighting for the building consists of surface mounted light fixtures with T8 lamps and electronic ballasts, conduit and wire. Exterior lighting consists of HID recessed units. | Fire suppression for the building is provided by a standpipe system as well as handheld fire extinguishers. A fire alarm system with pull stations, heat and smoke detectors, as well as audible and visible alarms which are monitored by a central fire alarm control panel is provided in the building. Exit signs to indicate the direction to the means of egress is provided in the building. | 148666 | 13812 |  | 2 |  | 1.25 | owned | N |  |  | 8304168.33 | 20.3% | 8304168.33 | 20.3% |  |  |  | Academic | South
| 8 | 03.521 | Sports and Health Ctr |  | 1216 Ordean Court | Eagan | Pensylvania | 55812 | 2019-11-07 | 2019 | 1953 | 72 | 72 | 64 | 90129220 |  | General: Sports and Health ctr was constructed in 1953 and is located at 1216 Ordean Court, Eagan, PL. Based on the provided information, the total gross floor area is estimated to be approximately 257512 square feet ( 23924 square metres). The building was assessed Nov 7, 2019. The building mainly consists of offices and labs . Structural Summary: G Building is a two -story structure with a basement. Where exposed, the building foundation walls appear to be poured concrete walls that likely bear on concrete spread footings on either engineered fill or native soil. The floor construction is a concrete infilled metal pan deck on open web steel joists. Envelope Summary: The exterior walls is split face concrete masonry and precast panels . The exterior windows are aluminum-framed insulated glass units. Various types and shapes of exterior doors provide access to building. The building's roof is an inverted roof assembly where the roof membrane is a single-ply built-up roof membrane. Interior Summary: The floor finishes of the building interior consists of carpet tiles and Vinyl tiles. Interior partitions are painted gypsum board and painted concrete masonry. The ceiling finishes include Gypsum board ceiling finish, eggcrate tiles and acoustic ceiling tiles. | Plumbing for the building consists of domestic water, sanitary waste and rainwater drainage piping. Ventilation for the building is provided from air handling units which also serve Block B. Space heating is provided is provided by electric baseboard heaters. Exhaust fans are provided for general building and washroom exhaust. A hybrid DDC/pneumatic system is utilized for control of the HVAC system. | Electrical power is provided from the CUB to 600V &ndash; 120/208V step-down transformers and includes incoming feeders; as well as distribution switchboards, panelboards and motor control centres. Interior lighting for the building consists of surface mounted light fixtures with T8 lamps and electronic ballasts, conduit and wire. Exterior lighting consists of HID recessed units. | Fire suppression for the building is provided by a standpipe system as well as handheld fire extinguishers. A fire alarm system with pull stations, heat and smoke detectors, as well as audible and visible alarms which are monitored by a central fire alarm control panel is provided in the building. Exit signs to indicate the direction to the means of egress is provided in the building. | 257512 | 23924 |  | 2 |  | 1.05 | owned | N |  |  | 7976913.68 | 8.9% | 8379839.33 | 9.3% |  |  |  | Athletics | North
| 9 | 22.054 | The Oswald Visitor Center |  | 11555 SW 17th Street | Miami | Florida |  | 2019-11-06 | 2019 | 2003 | 22 | 75 | 66 | 13883700 |  | General: The Oswald Visitor Center was constructed in 2003 and is located at 3865 Arbortetum Drive, Chaska, MC Based on the provided information, the total gross floor area is estimated to be approximately 46279 square feet (4299 square metres). The building was assessed Nov 6, 2019. The building mainly consists of offices and labs . Structural Summary: D Building is a three -story structure with a basement. Where exposed, the building foundation walls appear to be poured concrete walls that likely bear on concrete spread footings on either engineered fill or native soil. The floor construction is a concrete infilled metal pan deck on open web steel joists. Envelope Summary: The exterior walls is concrete masonry and precast panels . The exterior windows are aluminum-framed insulated glass units. Various types and shapes of exterior doors provide access to building. The building's roof is an inverted roof assembly where the roof membrane is a single-ply built-up roof membrane. Interior Summary: The floor finishes of the building interior consists of carpet tiles, epoxy floor and Vinyl tiles. Interior partitions are painted gypsum board and painted concrete masonry. The ceiling finishes include Gypsum board ceiling finish, eggcrate tiles and acoustic ceiling tiles. | Plumbing for the building consists of domestic water, sanitary waste and rainwater drainage piping. Domestic hot water is provided from domestic hot water tank heaters. Ventilation for the building is provided from an air handling unit located in Block F. Space heating is provided is provided by electric baseboard heaters. Exhaust fans are provided for general building and washroom exhaust. A hybrid DDC/pneumatic system is utilized for control of the HVAC system. Conveying equipment for the building consists of a three storey passenger elevator. | Electrical power distribution consists of panelboards which are distributed around the building. Interior lighting for the building consists of surface mounted light fixtures with T8 lamps and electronic ballasts, conduit and wire. Exterior lighting consists of surface mounted and recessed units. | Fire suppression for the building is provided by a standpipe system and handheld fire extinguishers. A fire alarm system with pull stations, heat and smoke detectors, as well as audible and visible alarms which are monitored by a central fire alarm control panel is provided in the building. Exit signs to indicate the direction to the means of egress is provided in the building. | 46279 | 4299 |  | 3 |  | 1.15 | owned | N |  |  | 12732426.84 | 91.7% | 13572185.91 | 97.8% |  |  |  | Operations | North
| 10 | 05.891 | University Teaching and Outreach Ctr |  | 2900 College Avenue | Brainerd | Carlifornia | 56716 | 2019-11-06 | 2019 | 1991 | 34 | 77 | 70 | 18058072 |  | General: University Teaching and Outreach ctr was constructed in 1991 and is located at 2900 University Avenue, Brainerd, CA. Based on the provided information, the total gross floor area is estimated to be approximately 53997 square feet (5016 square metres). The building was assessed on Nov 6, 2019. The building mainly consists of offices and labs. Structural Summary: B Building is a three -story structure with a basement. Where exposed, the building foundation walls appear to be poured concrete walls that likely bear on concrete spread footings on either engineered fill or native soil. The floor construction is a concrete infilled metal pan deck on open web steel joists. Envelope Summary: The exterior walls is concrete masonry and precast panels . The exterior windows are aluminum-framed insulated glass units. Various types and shapes of exterior doors provide access to building. The building's roof is an inverted roof assembly where the roof membrane is a single-ply built-up roof membrane. Interior Summary: The floor finishes of the building interior consists of carpet tiles, epoxy floor and Vinyl tiles. Interior partitions are painted gypsum board and painted concrete masonry. The ceiling finishes include Gypsum board ceiling finish, egg crate tiles and acoustic ceiling tiles. | Plumbing for the building consists of domestic water, sanitary waste and rainwater drainage piping. Domestic hot water is provided from domestic hot water tank heaters. Ventilation is provided from air handling units located in Block E. Space heating is provided from electric baseboard heaters. Cooling for the fish lab is provided from a DX unit. Rooftop exhaust fans are provided for general building and washroom exhaust. A hybrid DDC/pneumatic system is utilized for control of the HVAC system. Conveying equipment for the building consists of a three storey passenger elevator. | Electrical power is provided from the CUP to a 1000A, 600V, 3-Phase, 4-Wire, Main Breaker Distribution Switchboard that includes incoming feeder, distribution breakers, distribution feeders and metering; as well as distribution switchboards and panelboards. Interior lighting for the building consists of surface mounted and recessed light fixtures with T8 lamps and electronic ballasts, conduit and wire. Exterior lighting consists of surface mounted and recessed units. | Fire suppression for the building is provided by a standpipe system as well as handheld fire extinguishers. A fire alarm system with pull stations, heat and smoke detectors, as well as audible and visible alarms which are monitored by a central fire alarm control panel is provided in the building. Exit signs to indicate the direction to the means of egress is provided in the building. | 53997 | 5016 |  | 3 |  | 1.15 | owned | N |  |  | 19489777.59 | 107.9% | 19489777.59 | 107.9% |  |  |  | Academic | West
| 11 | 01.204 | Wilson Library |  | 309 19th Avenue S | Cottage Grove | Alabama |  | 2019-11-04 | 2019 | 1965 | 60 | 76 | 55 | 114366000 |  | General: Wilson Library was constructed in 1965 and is located at 309 19th Avenue S, Cottage grove, AB. Based on the provided information, the total gross floor area is estimated to be approximately 381220 square feet (35416 square metres). The building was assessed Nov 4, 2019. The building mainly consists of offices and labs . Structural Summary: I Building is a two -story structure with a basement. Where exposed, the building foundation walls appear to be poured concrete walls that likely bear on concrete spread footings on either engineered fill or native soil. The floor construction is a concrete infilled metal pan deck on open web steel joists. Envelope Summary: The exterior walls is split face concrete masonry. The exterior windows are aluminum-framed insulated glass units. Various types and shapes of exterior doors provide access to building. The building's roof is an inverted roof assembly where the roof membrane is a single-ply built-up roof membrane. Interior Summary: The floor finishes of the building interior consists of sheet vinyl and Vinyl tiles. Interior partitions are painted gypsum board and painted concrete masonry. The ceiling finishes include Gypsum board ceiling finish, eggcrate tiles and acoustic ceiling tiles. | Plumbing for the building consists of domestic water, sanitary waste and rainwater drainage piping. Domestic hot water is provided from domestic hot water tank heaters. Ventilation with heating and cooling for the building is provided from air handling units. Heating medium is provided from hot water boilers. Heating in public spaces is provided by electric baseboard and unit heaters. Cooling medium is provided from the CUB. Rooftop exhaust fans are provided for general building and washroom exhaust. Conveying equipment for the building consists of a two storey passenger elevator. | Electrical power is provided from the CUP to a 600A,15kV, switchgear; three 1250 KVA, 15 kV - 600Y/347V transformers; incoming feeders and metering. Electrical distribution consists of distribution switchboards, panelboards and motor control centres. Interior lighting for the building consists of surface and recessed mounted light fixtures with T8 lamps and electronic ballasts, conduit and wire. Exterior lighting consists of recessed mounted units with CF lamps. | Fire suppression for the building is provided by a standpipe system as well as handheld fire extinguishers. A fire alarm system with pull stations, heat and smoke detectors, as well as audible and visible alarms which are monitored by a central fire alarm control panel is provided in the building. Exit signs to indicate the direction to the means of egress is provided in the building. | 381220 | 35417 |  | 2 |  | 1 | owned | N |  |  | 16789622.83 | 14.7% | 19875368.97 | 17.4% |  |  |  | Operations | Central